## Sheet1
equipment | error_code | fault_diagnosis | resolution_procedure | confidence_score
Worcester Bosch 4000 | EA_Error | Ignition Flame Failure | Inspect lead, clean electrode, check gas pressure > 18 mbar. | 99.4
Worcester Bosch 4000 | 224_Error | Primary Flue Thermostat Tripped | Check water flow, bleed air from circulating pump. | 98.8
Ideal Logic Combi | F2_Error | Flame Loss During Operation | Check external condensate pipe for ice or blockage. | 97.5
Baxi 800 Combi | E119_Error | System Water Pressure Low | Repressurise filling loop to 1.5 bar. | 99.1